PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265

Public Meeting held June 24, 2008

Commissioners Present:

Wendell F. Holland, Chairman

James H. Cawley, Vice Chairman

Tyrone J. Christy

Kim Pizzingrilli

Implementation of the Alternative Energy

Portfolio Standards Act of 2004: Standard			M-00051865

Interconnection Application Forms

TENTATIVE ORDER

BY THE COMMISSION:

In 2006, we finalized our Regulations regarding Interconnection Standards in accordance with the Alternative Energy Portfolio Standards Act of 2004 (AEPS Act), 73 P.S. §§ 1648.1-1648.8, at 52 Pa. Code §§ 75.1 – 75.51.  The Interconnection Standards call for several levels of review for proposed interconnection projects depending on the nameplate capacity of the generation equipment to be installed and the complexity of the project.  See, 52 Pa. Code § 75.34.  The Regulations also provide that standard interconnection forms will be used and posted on electric distribution companies’ (EDC) websites.  52 Pa. Code § 75.33.

Following promulgation of the Interconnection Regulations, the task of developing standard application forms and interconnection agreements for each level of interconnection request was assigned to the Interconnection Standards Working Group.  On November 17, 2006, a sub-group was formed to concentrate on development of the interconnection application and agreement forms.  The sub-group consisted of representatives from consumer interests, alternative energy system vendors, EDCs and the Energy Association of Pennsylvania.

As Pennsylvania was working with the AEPS Act and its implementation, there was also a regional group that worked with many of the issues confronting Pennsylvania regarding interconnection standards and application forms.  That regional group was known as the Mid-Atlantic Demand Resource Initiative (MADRI).  In November of 2005, MADRI issued the MADRI Model Small Generator Interconnection Procedures.  Those procedures contained standard application and interconnection agreement forms which applied to several different levels of review for specific types of interconnection projects.  The Interconnection Standards sub-group organized in November of 2006 was directed to use the MADRI forms as its starting point.

In December of 2007, the Interconnection Standards sub-group reported to Commission Staff that it had finished its work and was prepared to present standard application and agreement forms to the full Interconnection Standards Working Group for comment.  On   December 19, 2007, Commission Staff forwarded the draft standard application and agreement forms to the full Interconnection Standards Working Group for comment.  Very few comments were received.  The Interconnection Standards sub-group reviewed and incorporated those comments into a final draft of the standard application forms.  On February 13, 2008, Commission Staff forwarded the final draft of the standard application and agreement forms to the full Interconnection Standards Working Group for comment.  Only one comment was received which recommended increasing certain nameplate capacity limits to be consistent with amendments to the AEPS Act.  The sub-group revised the draft standard application and agreement forms to address that single comment and the final proposed standard application and interconnection agreement forms were presented to Commission Staff.

At this time, Commission Staff has advised that the Interconnection Standards Working Group has finished its work on the standard application and interconnection agreement forms for interconnection requests.  Pursuant to 73 P.S. § 1648.5 and 52 Pa. Code § 75.33, the Commission tentatively adopts the draft standard application and interconnection agreement forms as presented by the Interconnection Standards Working Group.  Those application forms are attached to this Tentative Order as Appendix A.  It should be noted that the application forms are designed for an internet platform.  Several of the items in each of the forms contain drop-down menu boxes for interconnection customers to use.  In the event that a prospective interconnection customer chooses not to use the web-based application forms, the EDC can accommodate that customer with printed applications.

The applications and interconnection agreements are split into two discrete formats.  First, Level 1 inverter-based systems with nameplate capacities of 10 kW or less, which have been certified per the Commission’s Regulations at 52 Pa. Code § 75.34(1)(ii), will be processed with a basic application form and agreement.  The application form is designed to provide the EDC with sufficient information at the beginning of the process to permit prompt action on the request and reduce the amount of time the EDC will need to evaluate and approve the interconnection.

The Interconnection Agreements for Levels 1 and 2-4 contain specific limitations on liability and indemnification provisions.  These provisions are consistent with the MADRI forms.  It should be noted that there is no requirement for insurance.  Final Rulemaking Re Interconnection Standards for Customer-generators pursuant to Section 5 of the Alternative Energy Portfolio Standards Act, 73 P.S. § 1648.5,

L-00050175 (Order entered August 22, 2006), at 19.

By their nature, Levels 2 through 4 interconnection requests are more complicated endeavors and cover a far broader range of equipment installations than a Level 1 interconnection request.  For that reason, the Level 2 through 4 standard forms advise prospective interconnection customers of the types of information that may be required by an EDC, but direct the customer to work directly with the EDC to determine the kinds of information needed to process the application.  As noted in the standard form, a Level 2, 3 or 4 interconnection may require several meetings with EDC personnel as well as engineering studies as required by the Commission’s Regulations.  The interconnection application forms proposed in this Tentative Order have been conformed to the higher capacity limits for Customer-generators as provided in Act 35 of 2007, 2007 Pa. Laws 35.  It is anticipated that the Commission's Regulations in Chapter 75 of Title 52 of the Pennsylvania Code will be amended in the near future to conform to the increased capacity limits set forth in Act 35.

We will direct that this Tentative Order be published in the Pennsylvania Bulletin and a copy of this Tentative Order and Annex A shall be served on all jurisdictional EDCs, all licensed electric generation suppliers, the Office of Consumer Advocate, the Office of Small Business Advocate, the Office of Trial Staff, the Pennsylvania Department of Environmental Protection and the Interconnection Standards Working Group.  Interested persons may review the proposed application forms at the Commission’s website at:  www.puc.state.pa.us.

We will seek one additional round of comments on the proposed standard interconnection application forms.  Comments to the proposed application forms will be due twenty days from the date of publication in the Pennsylvania Bulletin.  To the extent that any changes to the application forms are suggested, comments should include a detailed analysis which supports the proposed changes.  If engineering components are involved, specific, technical reasons why changes are needed must be provided.  Proposed changes that are not supported by appropriate analyses are unlikely to be adopted.

At the conclusion of the comment period, we will review any comments submitted and issue a final Order adopting the resulting standard interconnection application forms.  Upon the entry of that final Order, jurisdictional EDCs will be directed to use the standard interconnection application forms and post those forms on their websites.  While there may be occasions when an EDC and a customer generator seeking interconnection will need to deviate from the standard forms, we anticipate that such occasions will be rare.  In the event the EDC and the customer generator are unable to reach agreement in those instances, they may avail themselves of the dispute procedure set forth in 52 Pa. Code § 75.51.

CONCLUSION

Pursuant to Section 1648.5 of the AEPS Act, 73 P.S. § 1648.5, and Section 75.33 of the Commission’s Regulations, 52 Pa. Code § 75.33, we will tentatively adopt the proposed standard Interconnection Application Forms attached to this Tentative Order as Appendix A and seek comments on those forms.  Any interested person may file comments within twenty (20) days of the publication of this Tentative Order in the Pennsylvania Bulletin; THEREFORE,

IT IS ORDERED:

1.  	That the standard Interconnection Application Forms attached hereto as Appendix A are tentatively adopted for use by jurisdictional electric distribution companies for processing interconnection requests brought under the Commission’s Regulations at 52 Pa. Code §§ 75.1 through 75.50.

2.	That a copy of this Tentative Order and Annex A be served upon the Commission’s Office of Trial Staff, the Office of Consumer Advocate, the Office of Small Business Advocate, all jurisdictional electric utility companies, licensed electric generation suppliers, the Pennsylvania Department of Environmental Protection and the Interconnection Standards Working Group.

3.	That the Secretary shall cause a copy of this Tentative Order to be published in the Pennsylvania Bulletin.

4.	 An original and fifteen copies of any written comments referencing the caption and docket number of this Tentative Order shall be submitted within twenty (20) days of publication in the Pennsylvania Bulletin to the Pennsylvania Public Utility Commission, Attn.: Secretary, P.O. Box 3265, Harrisburg, PA. 17105-3265.

5.	That the contact persons are Greg Shawley, Bureau of Conservation, Economics and Energy Planning,  717-787-5369 (technical), and H. Kirk House, Office of Special Assistants, 717-772-8495 (legal).

BY THE COMMISSION

James J. McNulty,

Secretary

(SEAL)

ORDER ADOPTED:  June 24, 2008

ORDER ENTERED:  June 25, 2008

Appendix A

INTERCONNECTION APPLICATION/AGREEMENT - PART 1

With Terms and Conditions for Interconnection

For a Level 1 Review (Certified Inverter-based Units of 10kW and under)

(Application & Conditional Agreement – to be filled out prior to installation)

CUSTOMER GENERATOR CONTACT INFORMATION

Legal Name and Mailing Address of Customer-Generator: (if an Individual, Individual’s Name)

Name:

Mailing Address:

City:      		State:      	Zip Code:

Contact Person (If other than Above):

Mailing Address (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

Alternative Contact Information: (if different from Customer-Generator above)

Name:

Mailing Address:

City:      		State:      	Zip Code:

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

The Customer-Generator Facility’s Information:

Facility Address:

City:      		State: PA	Zip Code:

Nearest Crossing Street:

Electric Distribution Company (“EDC”):

Account #:      		Meter #:

Current Annual Energy Consumption: 	      kWh 		Estimated In-service Date:

Application Fee Enclosed: 		Inverter Type;

Energy Source:  		Manufacturer:

Number of Units:      		Model Number of Inverter:

Inverter Rating:        kWAC 	Ampere Rating:       AmpsAC 	Number of Phases:

Voltage Rating:        VAC,	 DC Source Rating:        kWDC	Nominal DC Voltage:        VDC

Power Factor:        %, 	Frequency:       Hz,	IEEE1547/UL1741 Certification:

Utility Accessible Disconnect or Lock Box:

One-line Diagram Attached (Required): 	Site Plan Attached (Required):

Do you plan to export power?

If Yes, Estimated Maximum:       kWAC,	Estimated Gross Annual Energy Production:       kWh

Equipment Installation Contractor: (Indicate by owner if applicable)

Name:

Mailing Address:

City:      		State:        Zip Code:

Contact Person (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

Electrical Contractor:  (If applicable)

Name:

Mailing Address:

City:      		State:        Zip Code:

Contact Person (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

Customer-Generator Insurance Disclosure:

The attached Terms and Conditions contain provisions related to liability, and indemnification and should be carefully considered by the Customer-Generator. The Customer-Generator is not required to obtain liability insurance coverage as part of this Application/Agreement; however, the Customer-Generator is advised to consider obtaining appropriate coverage.

Customer-Generator Signature:

I hereby certify that: 1) I have read and understand the Terms and Conditions which are attached hereto by reference and are made a part of this Application/Agreement; and 2) to the best of my knowledge, all of the information provided in this Application/Agreement is true and I agree to abide by the attached Terms and Conditions, including the application process set forth therein.

Customer-Generator Signature: 	 	Date:

Printed Name: 	 	Title:

Conditional Approval to Interconnect Customer-Generator Facility: (for Use by EDC Only)

The requested information is complete and interconnection of the Customer-Generator Facility is approved contingent upon the Terms and Conditions of this Agreement, the return of a duly executed Certificate of Completion, verification of electrical inspection and successful witness test or EDC waiver thereof.

EDC Signature: 		Date:

Printed Name:      		Title:

Interconnection Application/Agreement

Terms and Conditions for Interconnection

For a Level 1 Review (Certified Inverter-based Units of 10kW and under)

- Construction of the Customer-Generator Facility. The Customer-Generator may proceed to construct (including operational testing not to exceed 2 hours) the Customer-Generator Facility once the approval to install the Customer-Generator Facility has been received from the Electric Distribution Company (EDC).

The Customer-Generator Facility shall be constructed in accordance with information provided in Part 1 of the Interconnection Application/Agreement, IEEE 1547 and the Commission’s regulations.

Once an Interconnection Request is deemed complete, any modification to the proposed Customer-Generator Facility that would affect the application review criteria for a Level 1 review that is not agreed to in writing by the EDC, shall require submission of a new Interconnection Request.

- Interconnection and Operation. The Customer-Generator may interconnect and operate the Customer-Generator Facility with the EDC’s system once all of the following have occurred:

  - Electrical Inspection:  Upon completing construction, the Customer-Generator will have the Customer-Generator Facility inspected or otherwise certified by the local electrical wiring inspection authority having jurisdiction over the Customer-Generator Facility.

  - Certificate of Completion: The Applicant shall provide the EDC with a completed copy of the Certificate of Completion, including evidence of the electrical inspection by the local authority having jurisdiction.  The evidence of completion of the electrical inspection may be provided on inspection forms used by local inspecting authorities.

  - Inspection:  The EDC has either completed its inspection or waived the right to inspection in the Application/Agreement as follows:

    - EDC Right of Inspection.  After receipt of the Certificate of Completion, the EDC will, upon reasonable notice (minimum of 10-days notice as noted in 2.3.2 below) and at a mutually convenient time, conduct an inspection of the Customer-Generator Facility and perform a Witness Test to ensure that all equipment has been appropriately installed and that all electrical connections have been made as required.

    - Witness Test. For Level 1 review projects only, if the EDC does not inspect the installation within the minimum notice period of 10 business days, or by mutual agreement of the Parties, the Witness Test is deemed waived.

  - Metering: Revenue quality metering equipment shall be installed and tested by the EDC.  (Note: The EDC may allow interconnected operations prior to the meter installation.)

  - Acceptance:  The EDC’s representative has signed Part 2, the Certificate of Completion, approving the facility for energization.

- Periodic Testing. All interconnection-related protective functions and associated batteries shall be periodically tested at intervals specified by the manufacturer, system integrator, or authority that has jurisdiction over the Customer-Generator Facility interconnection. Periodic test reports or a log for inspection shall be maintained.

- Safe Operations and Maintenance.  The Customer-Generator shall be fully responsible for the operation, maintenance and repair of the Customer-Generator Facility as required to ensure that the Customer-Generator Facility complies at all times with the interconnection standards it has been certified to meet.

- Access.  The EDC shall have access to the metering equipment and the disconnect/isolation device of the Customer-Generator Facility at all times.  The EDC shall provide reasonable notice to the Customer-Generator, when possible, prior to using its right of access.  In an emergency or outage situation, where there is no access to an AC disconnect/isolation device such as a switch or breaker, the EDC may disconnect the electrical service to the premises.

- Exterior AC Disconnect Switch / Isolation Device. Small generator facilities shall be capable of being isolated from the EDC by means of a lockable, visible-break isolation device accessible by the EDC. The isolation device shall be installed, owned and maintained by the owner of the small generation facility and located between the small generation facility and the point of interconnection. A draw-out type circuit breaker with a provision for padlocking at the draw-out position can be considered an isolation device for purposes of this requirement.

An interconnection customer may elect to provide the EDC access to an isolation device that is contained in a building or area that may be unoccupied and locked or not otherwise readily accessible to the EDC, by installing a lockbox provided by the EDC that shall provide ready access to the isolation device. The interconnection customer shall install the lockbox in a location that is readily accessible by the EDC and the interconnection customer shall permit the EDC to affix a placard in a location of its choosing that provides clear instructions to EDC operating personnel on access to the isolation device.  The interconnection customer, at its option, may provide and install both the lockbox & placard.

- Operations / Disconnection.  The EDC may temporarily disconnect the Customer-Generator Facility upon occurrence of the following conditions:

  - For scheduled outages upon reasonable notice,

  - For unscheduled outages or emergency conditions,

  - If the EDC determines that the Customer-Generator Facility does not operate in a manner consistent with this Application/Agreement.

  - If the EDC determines that continued operation of the Customer-Generator Facility is a safety hazard to the EDC’s personnel or to the general public.

  - In the event the interconnection equipment used by the Customer-Generator Facility is de-listed by the Nationally Recognized Testing Laboratory that provided the listing at the time the interconnection was approved and the EDC ascertains that continued operation has the potential to cause a safety, reliability or a power quality problem.

- Indemnification.  The Parties shall at all times indemnify, defend, and save the other Party harmless from, any and all damages, losses, claims, including claims and actions relating to injury to or death of any person or damage to property, demand, suits, recoveries, costs and expenses, court costs, attorney fees, and all other obligations by or to third parties, arising out of or resulting from the other Party's action or inactions of its obligations under these terms and conditions on behalf of the indemnifying Party, except in cases of gross negligence or intentional wrongdoing by the indemnified Party.

- Limitation of Liability.  Each party’s liability to the other party for any loss, cost, claim, injury, liability, or expense, including reasonable attorney’s fees, relating to or arising from any act or omission in its performance of these terms and conditions, shall be limited to the amount of direct damage actually incurred.  In no event shall either party be liable to the other party for any indirect, incidental, special, consequential, or punitive damages of any kind whatsoever.

- Termination.  This Application/Agreement may be terminated under the following conditions:

  - By Customer-Generator.  The Customer-Generator may terminate this Application/Agreement by providing written notice to the EDC.

  - By the EDC. The EDC may terminate this Application/Agreement if the Customer-Generator fails to remedy a violation of terms of this Application/Agreement upon written notice and a reasonable opportunity to cure.

- Permanent Disconnection.  In the event the Application/Agreement is terminated, the EDC shall have the right to disconnect its facilities or direct the Customer-Generator to disconnect its Customer-Generator Facility.

- Survival Rights.  This Application/Agreement shall continue in effect after termination to the extent necessary to allow or require either Party to fulfill its rights or obligations that arose under the Application/Agreement.

- Assignment/Transfer of Ownership of the Customer-Generator Facility: This Application/Agreement shall survive the transfer of ownership of the Customer-Generator Facility to a new owner unless the new owner terminates this Application/Agreement and so notifies the EDC in writing.  The EDC will be responsible for contacting the new customer to execute a new Application/Agreement or assignation agreement, in order for the new owner to be treated as a Net Metering customer.

- Definitions. The capitalized terms used herein, and the definitions of such terms, are as those used in regulations adopted by the Pennsylvania Public Utility Commission at 52 Pa. Code § 75.22, relating to Interconnection Standards and Definitions.

- Notice. Unless otherwise provided in this Application/Agreement, any written notice, demand, or request required or authorized in connection with this Application/Agreement (“Notice”) shall be deemed properly given if delivered in person, delivered by Electronic Mail (E-mail) delivered by recognized national courier service, or sent by first class mail, postage prepaid, to the person specified below:

If to EDC:

The contact listed on the EDC website as the primary contact for the EDC listed in the Customer-Generator’s Facility Information section on Page 1 of the Interconnection Application/Agreement.

If to Customer-Generator:

The contact listed in the Legal Name and Mailing Address of Customer-Generator section on Page 1 of the Interconnection Application/Agreement.  The Customer-Generator is responsible for notifying the EDC of any change in the contact party information.

In the event the original applicant sells or otherwise transfers ownership of the property listed in the Customer-Generator Facility’s Information section listed on Page 1 of the Interconnection Application/Agreement, the original applicant shall provide the EDC with the appropriate contact information for the new owner of the property.  Upon any subsequent transfer of ownership, the then current owner shall provide the EDC with the new owner’s information.

INTERCONNECTION APPLICATION/AGREEMENT - PART 2

With Terms and Conditions for Interconnection

For a Level 1 Review (Certified Inverter-based Units of 10kW and under)

(Final Agreement – to be filled out after installation)

Certificate of Completion

Customer Generator Information

Legal Name and Mailing Address of Customer-Generator (if an Individual, Individual’s Name)

Name:

Mailing Address:

City:      		State:        Zip Code:

Contact Person (If other than Above):

Mailing Address (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

The Customer-Generator Facility’s Information:

Facility Address:

City:      		State: PA  Zip Code:

Nearest Crossing Street:

Electric Distribution Company (“EDC”):

Account #:      		Meter #:

Inverter Type;     Energy Source:

Number of Units:       	   Manufacturer:

Model Number of Inverter:       		Inverter Rating:        kWAC

(Attach additional sheets as necessary in the event of multiple units of various types/sizes)

Equipment Installation Contractor:			Check if owner-installed:  ()

Name:

Mailing Address:

City:      		State:        Zip Code:

Contact Person (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

The undersigned asserts that the Equipment has been installed in accordance with Part 1 of the Interconnection Application/Agreement as well as all applicable codes and regulations.

Signed: 	  Date:

Printed Name:      		Title:

Electrical Contractor: (if Different from Equipment Installation Contractor)

Name:

Mailing Address:

City:      		State:        Zip Code:

Contact Person (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

The undersigned asserts that the Equipment has been installed in accordance with Part 1 of the Interconnection Application/Agreement as well as all applicable codes and regulations.

Signed: 	  Date:

Printed Name:      		Title:

Electrical Inspection:

The system has been installed and inspected in compliance with the provisions of the National Electrical Code and other applicable codes and standards as well as the local Building/Electrical Code of:

(Appropriate Governmental Authority)

By:  	  	Date:

Customer-Generator Signature:

The Customer-Generator Facility is complete and ready for interconnected operation in accordance with all of the provisions of the Interconnection Application/Agreement.  The Customer-Generator acknowledges that it shall not operate the Facility until receipt of Final Acceptance (below), or as otherwise provided for by regulation.

Signed: 	  Date:

Printed Name:      		Title:

Final Acceptance to Interconnect Small Generator Facility (for Use by EDC Only)

The requirements for interconnection are complete and interconnection of the Customer-Generator Facility is accepted upon signature and return of this Certificate of Completion by the EDC, below:

Electric Distribution Company waives Witness Test?    (Initial)	Yes	(          )	No	(          )

If no, Successful Witness Test Date:       		Passed: (Initial)   (           )

EDC Signature: 		Date:

Printed Name:      		Title:

INTERCONNECTION APPLICATION

For a Level 2, 3 or 4 Review - Generation Up To 5,000 kW

(To be filled out and submitted prior to installation)

CUSTOMER GENERATOR CONTACT INFORMATION

Legal Name and Mailing Address of Customer-Generator: (if an Individual, Individual’s Name)

Name:

Mailing Address:

City:      		State:      	Zip Code:

Contact Person (If other than Above):

Mailing Address (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

Alternative Contact Information: (if different from Customer-Generator above)

Name:

Mailing Address:

City:      		State:      	Zip Code:

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

The Customer-Generator Facility’s Information:

Facility Address:

City:      		State: PA	Zip Code:

Nearest Crossing Street:

Electric Distribution Company (“EDC”):

Account #:      		Meter #:

Existing Service Voltage:	      VAC	Existing Service Capacity:        Amps	 Phase

Current Annual Energy Consumption: 	      kWh 		Estimated In-service Date:

Do you plan to export power?

If Yes, Estimated Maximum:       kWAC,	Estimated Gross Annual Energy Production:       kWh

One-line Diagram Attached (Required): 	Site Plan Attached (Required):

Energy Source:  		Gross Generator Rating:       kWAC

Utility Accessible Disconnect or Lock Box:

Requested Level of Review: 			Type of Generation Equipment:

Equipment Installation Contractor:       Indicate by owner if applicable

Name:

Mailing Address:

City:      		State:        Zip Code:

Contact Person (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

Electrical Contractor: (If Applicable) 	   Indicate if not applicable

Name:

Mailing Address:

City:      		State:        Zip Code:

Contact Person (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

Consulting Engineer: (If Applicable)        Indicate if not applicable

Name:

Mailing Address:

City:      		State:        Zip Code:

Contact Person (If other than Above):

Telephone (Daytime):      		(Evening):

Facsimile Number:      		E-Mail Address:

Application Fee:

The Applicant shall deposit a not refundable application fee which is approved by the Pennsylvania Public Utility Commission and is listed on the EDC’s Website. Depending on the level of review and nature of the energy generating equipment, additional study and review fees, as permitted by Pennsylvania Public Utility Commission Regulations may be required and are not a part of the aforementioned application fee.

Application Fee Enclosed: 	Amount:

Customer-Generator Insurance Disclosure:

General Liability Insurance coverage is not required under the Pennsylvania Public Utility Commission’s Regulations. However, the Customer still has responsibility and/or liability for any damage(s) or injury(ies) caused by the Customer-Generator Facility and/or the Customer’s Interconnection Facilities.  The Customer-Generator is advised to consider obtaining appropriate coverage.

Customer-Generator Signature:

I hereby certify that to the best of my knowledge, all of the information provided in this Application is accurate.

Legal Name of Customer-Generator:

Customer-Generator Signature: 	 	Date:

Printed Name: 	 	Title:

INTERCONNECTION APPLICATION

Customer-Generator Equipment Information for Inverter Based Systems

(May be applicable to a Level 2, 3 or 4 Review)

DC Source information;

Energy Source:

DC Source Rating:        kWDC

Nominal DC Voltage:        VDC

Ampere Rating:       Amps DC

Inverter Information:

Inverter Manufacturer:

Inverter Type;

Model Number of Inverter:

Number of Units:

Inverter Rating:        kWAC

Voltage Rating:       VoltsAC

Ampere Rating:       AmpsAC

Power Factor:        %,

Number of Phases:

Frequency:       Hz,

IEEE1547/UL1741 Certification:

Evidence of Certification attached:

Customer-Generator Equipment Information for Parallel Rotating Equipment Based Systems

(May be applicable to a Level 3 or 4 Review)

It is anticipated that many projects proposing to utilize directly coupled rotating generation may not have the specific information necessary for the EDC to adequately evaluate the impact of the proposed facility on the EDC’s electrical distribution system at the time of the initial application.  Often times the equipment for which this information is needed hasn’t been specified.  The type information necessary may be conveyed during a scoping meeting or other correspondence early on during the project development.  Depending on the nature of the project, this is often an iterative process.  Different EDC’s analytical systems may require that data be provided conforming to specific standard formats which will be conveyed by the EDC.  While not all inclusive, examples of the information commonly required are as follows:

For Synchronous Machines:  Copies of the Saturation Curve and the Vee Curve - Salient vs. Non-Salient - Torque: (lb-ft) - Rated RPM - Field Amperes at rated generator voltage and current and % PF over-excited - Maximum Leading and Lagging Reactive Output Power - Type of Exciter - Output Power of Exciter - Type of Voltage Regulator - Direct-axis Synchronous Reactance (Xd) ohms  - Direct-axis Transient Reactance (X'd) ohms  - Direct-axis Sub-transient Reactance (X"d) ohms - Rated Nominal Frequency

For Induction Machines: Rotor Resistance (Rr) ohms - Exciting Current (Amps) - Rotor Reactance (Xr) (ohms) - VARs (No Load) - Magnetizing Reactance (Xm) - Stator Resistance (Rs) - VARs (Full Load) - Stator Reactance (Xs) – Short Circuit Reactance (X"d) - Number of Phases - Frame Size - Design Letter - Temp. Rise oC

Protective Equipment:  The Customer-Generator shall design a protective scheme that will provide the protective functions specified in IEEE 1547 and submit it to the EDC for review & acceptance.  The submittal shall include a single line drawing showing the location of instrument transformers (current and voltage) and the location of the relays, breakers and fuses. Indicate the manufacturer and model number of each type of device.  Breaker data shall include continuous and interrupting ampere ratings.  If relays are used, indicate function, the tripping source and its voltage.

Isolation Transformer:  Manufacturer - Manufacturer reference number - Nominal Voltage Ratio – High / Low Voltage Taps - Number of Units - Rated kVA – Percentage Impedance @ kVA base – High / Low Voltage Winding Configuration

# Footnotes

Completion of local inspections may be designated on inspection forms used by local inspecting authorities.

As a condition of interconnected operation, you are required to send/fax/e-mail a completed signed copy of this Certificate of Completion to your EDC at the address in the Terms & Conditions for Interconnection.