PENNSYLVANIA PUBLIC UTILITY COMMISSION

Harrisburg, Pennsylvania  17105-3265

| Implementation of the Alternative Energy Portfolio Standards Act of 2004 – Act 35 of 2007 |  | Public Meeting: July 25, 2007 JUL-2007-C-0007 Docket No. M-00051865 Docket Nos. L-00050174, L-00050175 |
| --- | --- | --- |

MOTION OF

COMMISSIONER KIM PIZZINGRILLI

On July 17, 2007, Governor Edward Rendell signed Act 35 of 2007 into law.  This law amends a number of provisions of the Alternative Energy Portfolio Standards Act of 2004, 73 P.S. § 1648.1, et seq., including those relating to distributed generation.  The Commission previously promulgated final regulations relating to net metering and interconnection standards.   The statutory amendments necessitate changes to the Commission’s regulations.  The Commission will begin the process of promptly revising its net metering and interconnection regulations to reflect the requirements of Act 35.  However, because the Act takes effect immediately, its provisions will be given immediate effect while the rules are being revised.

The purpose of this Motion is to initiate the rulemaking process and to ensure that parties are informed of the statutory changes.  The following briefly describes some of the changes to definitions and the frequency of compensation for customer-generators:

- Revising the definition of “customer-generator” to increase the capacity limit on non-residential systems from 1 to 3 megawatts generally, and from 2 to 5 megawatts for those systems that operate in parallel with the grid during emergencies or that maintain critical infrastructure.

- Revising the definition of “net metering” to include a restriction on virtual meter aggregation.

- Revising the frequency of when customer-generators are to be compensated for excess generation to an annual basis at the full retail rate, as opposed to the current monthly standard.

Electric distribution companies will be required to amend and file revised net metering tariffs with the Commission.  They should also begin to apply the new compensation standard beginning with the first full billing period after the effective date of Act 35.

THEREFORE, I MOVE:

- That the Office of Special Assistants, the Bureau of Conservation, Economics and Energy Planning and the Law Bureau review Act 35 of 2007, and begin the process of developing necessary revisions to the Commission’s net metering and interconnection rules at 52 Pa. Code  § 75.1, et seq.

- That Pennsylvania’s electric distribution companies comply with the provisions of Act 35 of 2007.  Electric distribution companies are directed to work with Commission staff to revise their currently effective net metering tariffs to reflect the requirements of Act 35.

- That the Office of Special Assistants prepare a Secretarial Letter consistent with this Motion to be served on all parties.

________________		__________________________________

DATE			KIM PIZZINGRILLI, COMMISSIONER

# Footnotes

House Bill 1203, Printer’s Number 2343.

Final Rulemaking Re Net Metering for Customer-generators pursuant to Section 5 of the Alternative Energy Portfolio Standards Act, 73 P.S. § 1648.5, Docket L-00050174 (Final Rulemaking Order entered June 23, 2006); Final Rulemaking Re Interconnection Standards for Customer-generators pursuant to Section 5 of the Alternative Energy Portfolio Standards Act, 73 P.S. § 1648.5, Docket L-00050175 (Final Rulemaking Order entered September 19, 2006), Effective December 16, 2006, 36 Pa.B. 7574.