|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION P.O. BOX 3265, HARRISBURG, PA 17105-3265 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

August 21, 2013

M-2013-2376707

DAVID J KARAFA

WEST PENN POWER COMPANY

2800 POTTSVILLE PIKE

READING, PA 19612

Re:	Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  	Outage for Reliability Reporting Purposes.

Dear Mr. Karafa:

On August 1, 2013, West Penn Power Company (West Penn) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M-00991220.

The instant request relates to service interruptions that occurred as a result of an unscheduled emergency interruption to isolate a transmission breaker switch on the Pennsylvania Electric Company’s (Penelec) East Towanda 115 kV transmission line.  The event began on May 14, 2013.  West Penn stated that the event caused sustained interruptions to 2,823 customers out of a total of 706,303 customers, which is less than 10 percent of total customers.  West Penn filed the request based on part B of the major event definition as defined in 52 Pa. Code §57.192.  West Penn noted that the interruptions occurred in multiple locations in Potter County.  West Penn noted that the interruptions lasted from May 14, 2013, at 3:08 p.m. until May 14, 2013, at 6:15 p.m.

West Penn averred that the unscheduled emergency interruption was required to avoid a catastrophic failure of the switch that would have impacted the overall bulk power system and therefore met the part B definition of the major event definition.  West Penn averred that the East Towanda substation was inspected last on April 19, 2013 and no issues were identified.  West Penn noted that the transmission breaker switch that was isolated was discovered to be overheating during a scheduled thermography inspection on May 14, 2013.  West Penn stated that the last thermography inspection on the switch was completed in August 2012 and no issues were identified.  West Penn also noted that the East Towanda 115 kV transmission line system is normally operated as a networked line with multiple sources so that interruptions are normally quickly isolated or backfed from a different source.   West Penn noted that on May 14, 2013, the system was in an abnormal mode due to planned maintenance, which caused the system to operate as a radial feed, which significantly increased the risk for any faults or other contingencies to cause sustained outages.  Penelec also filed a request for exclusion on August 1, 2013 for the same outage event.

Upon review of the company’s filing, it appears that the service interruptions described by West Penn qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.

Notwithstanding the Commission’s approval of this request for exclusion, West Penn is advised that the Commission’s Bureau of Technical Utility Services is hereby initiating an investigation of the reliability performance of the East Towanda 115 kV line system, pursuant to 52 Pa. Code §57.197 (relating to reliability investigations and enforcement).

In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

Sincerely,

# Rosemary Chiavetta

# Secretary

# Cc	Daniel Searfoorce, TUS

# Dennis Hosler, Audits

# Darren Gill, TUS

# David Washko, TUS

# Kathleen Aunkst, Secretary’s Bureau

# Footnotes

Part B defines a major event as: “An unscheduled interruption of electric service resulting from an action taken by an EDC to maintain the adequacy and security of the electrical system, including emergency load control, emergency switching and energy conservation procedures, as described in § 57.52 (relating to emergency load control and energy conservation by electric utilities), which affects at least one customer.”

See Docket No. M-2013-2376703.