|  | PENNSYLVANIA PUBLIC UTILITY COMMISSION Harrisburg, PA 17105-3265 |  |
| --- | --- | --- |

|  | Public Meeting held August 8, 2019 |
| --- | --- |
| Commissioners Present: |  |

| Gladys Brown Dutrieuille, Chairman |
| --- |
| David W. Sweet, Vice Chairman, Statement, Dissenting |
| Norman J. Kennard |
| Andrew G. Place, Statement, Concurring in result only |
| John F. Coleman, Jr. |
| In re: The Indian Springs Water Company | Docket No. M-2019-3011972 |

ORDER

BY THE COMMISSION:

The Indian Springs Water Company (Indian Springs) provides water service to approximately 54 customers, and serves a total population of 137, in the community of Glen Summit in Fairview Township, Luzerne County, Pennsylvania.  Since 2015, the Department of Environmental Protection (DEP) has issued ten Notices of Violation to Indian Springs for the following issues: failure to issue a Tier 3 public notification for asbestos contaminants; Consumer Confidence Report (CCR) report not submitted; failure to monitor or report EP disinfectant residual for groundwater; failure to monitor or report for the disinfectant/disinfectant byproduct (D/DBP) contaminant specified – chlorine, trihalomethanes, and haloacetic acids (five); failure to issue a Tier 2 public notification for lead/copper group contaminants; and failure to do a study or recommend treatment under the Lead and Copper Rule (LCR) for lead/copper group contaminants.

Additionally, the Commission understands that the DEP issued a Field Order to Indian Springs on February 7, 2019, for violations identified during an inspection conducted by DEP personnel on February 6, 2019.  The Commission also understands that Indian Springs has been on a “Do Not Consume” advisory since February 7, 2019, due to lead and copper exceedances as well as unsanitary conditions of the water system.  Of great concern is the fact that the Commission further understands that Indian Springs has been informed multiple times by the DEP that the public notices issued by it are deficient, and that a public notice due May 12, 2019, has not been provided to the DEP.  DEP documents in support of this Order are attached as Appendix B.

Based on these and other matters described herein, the Commission believes that a receiver should act immediately to assess and correct conditions that would cause Indian Springs to provide unsafe, inadequate, or unreasonable water service to its customers and the public.  Indian Springs should also appear before the Commission to demonstrate that it is capable of providing safe, reliable, and reasonably continuous water service in accordance with the requirements of the Public Utility Commission and the DEP.  To this end, the Commission will initiate a proceeding pursuant to 66 Pa. C.S. § 529, where Indian Springs shall appear before the Commission to address these matters and, if necessary, provide reasonable solutions thereto.  In the interim the Commission will appoint a receiver pursuant to 66 Pa.C.S. § 529(g) to protect the interests of Indian Springs’ customers and members of the affected public.  The responsibilities of the receiver are specified in the attached Appendix A.

The Commission encourages a reduction in the number of small, nonviable drinking water systems and fosters the acquisition of small, nonviable water systems by viable utilities when those acquisitions are in the public interest.  See 66 Pa. C.S. §§ 69.701, 69.711.  The Commission understands that Pennsylvania-American Water Company (PAWC), one of Pennsylvania’s two largest regulated water utilities, and Indian Springs have engaged in discussions regarding the acquisition of the Indian Springs system by PAWC.  The Commission also understands that these discussions have not concluded.  Therefore, due to ongoing issues with Indian Springs’ water service and the of lack a forthcoming resolution via acquisition, Commission action is necessary and in the public interest.

The Commission takes immediate affirmative action here to protect Indian Springs customers and all members of the public affected by the regulated utility service rendered by Indian Springs and to confirm Indian Springs’ obligation to provide safe, reasonable, and adequate utility service.  Based on its apparent lack of safe, reasonably continuous, and adequate service, present management and operating conditions at Indian Springs appear to present a serious public health and safety threat that the Commission will not ignore.

The Public Utility Code authorizes the Commission to regulate the conduct of public utilities in the Commonwealth.  66 Pa. C.S.  § 501.  The Commission is also authorized to “enforce obedience” to the Public Utility Code, Commission regulations, and orders.  66 Pa. C.S. § 502.  Moreover, Section 529 of Title 66, 66 Pa. C.S. § 529, authorizes the Commission to direct a competent public utility to assume operational control or to acquire a small water utility that has jeopardized public safety by failing to provide reasonable and adequate utility service.

Section 529 is an emergency provision in which the Public Utility Code authorizes the Commission to take immediate action to protect the public interest.  Pursuant to 66 Pa. C.S. § 529, the Commission may order a capable public utility to acquire a small water  utility like Indian Springs if the Commission determines, after notice and hearing, that (1) Indian Springs has violated statutory or regulatory standards, (2) Indian Springs has failed to comply within a reasonable period of time with any Commission order concerning the safety, adequacy, efficiency, or reasonableness of service, (3) Indian Springs cannot reasonably be expected to furnish and maintain adequate, efficient, safe, and reasonable service and facilities in the future, (4) alternatives to acquisition are determined to be impractical or not economically feasible, (5) the acquiring utility is capable of operating Indian Springs in compliance with statutory and regulatory standards, and (6) that the rates charged to Indian Springs customers will not increase unreasonably because of the acquisition.  66 Pa. C.S. § 529(a).  In making these determinations, the Commission is to consider the factors enumerated in 66 Pa. C.S. § 529(c).

Regarding 66 Pa. C.S. § 529(a)(4), that Section requires the Commission to explore alternatives to acquisition as outlined in 66 Pa. C.S. § 529(b).  Finally, as the bureau with delegated prosecutory discretion under Section 308.2(a)(11) of the Public Utility Code, the Bureau of Investigation and Enforcement (BIE) shall be directed to participate in this matter to address fitness determinations, alternatives to acquisition, and factors for consideration required under Sections 529(a), (b), and (c) as it deems appropriate and before a final determination on acquisition can be rendered.

In addition to the above, 66 Pa. C.S. § 529(g) provides that the Commission may take action to ensure that customers of a small water utility and the affected public will receive safe and adequate service during the pendency of a Section 529 proceeding.  Section 529 provides as follows:

(g)  Appointment of receiver.—The commission may, in its discretion, appoint a receiver to protect the interests of the customers of the small water or sewer utility. Any such appointment shall be by order of the commission, which order shall specify the duties and responsibilities of the receiver.

66 Pa. C.S. § 529(g).  Given that PAWC has engaged in acquisition discussions regarding the transfer of the Indian Springs system to PAWC and that PAWC presently serves customers in Fairview Township, Luzerne County, Pennsylvania as part of its Wilkes-Barre District, PAWC is a suitable receiver for Indian Springs.

This Order will appoint PAWC as the Receiver to manage and operate Indian Springs during the pendency of the Section 529 proceeding ordered herein.  The Commission appoints PAWC as the Receiver because of its expertise and experience in operating water utilities subject to regulation under the Public Utility Code, and because its familiarity and understanding of the circumstances will work to ensure safe, adequate, reliable, and reasonably continuous service to the public.  Accordingly, the Commission has specified the duties and responsibilities of the Receiver in this Order and in Appendix A.

CONCLUSION

To protect the health, safety and welfare of the customers of The Indian Springs Water Company, the Commission will initiate a proceeding pursuant to 66 Pa. C.S. § 529, including the appointment of a receiver under Section 529(g).  These actions will provide for the orderly transition of operation and perhaps ownership of Indian Springs to a competent water provider and will protect the customers of Indian Springs and the affected public; THEREFORE,

IT IS ORDERED:

1.	That an investigation shall be instituted into whether the Commission should order a capable public utility to acquire The Indian Springs Water Company pursuant to 66 Pa. C.S. § 529 and as is consistent with this Order.

2.	That the Bureau of Investigation and Enforcement is expected to participate in the investigation proceeding.  Water utilities with an interest in this matter may petition to participate as appropriate.

3.	That The Indian Springs Water Company shall provide notice to its customers of the imposition of the receivership and the initiation of a Section 529 proceeding in the same manner as a general rate increase and shall inform its customers to direct future payments for water service to the Receiver as appointed by the Commission.

4.	That pursuant to 66 Pa. C.S. § 529(g), the Commission directs Pennsylvania American Water Company to act as the Receiver for The Indian Springs Company beginning August 19, 2019, and to continue during the pendency of the Section 529 proceeding ordered above and in accordance with Appendix A to this Order.

5.	Pennsylvania American Water Company will continue to provide bottled water to The Indian Springs Water Company customers as required in the interim between this Order and August 19, 2019.

6.	The Receiver shall not assume any debt incurred by The Indian Springs Water Company unless such assumption is approved through an Order of this Commission.

7.	The Receiver shall not be liable for preexisting conditions, defects, or regulatory or statutory violations occasioned by The Indian Springs Water Company.

8.	That utilities serving The Indian Springs Water Company are permitted and directed to initiate service to the facilities used to serve The Indian Springs Water Company customers in the name of the Receiver as appointed by the Commission and consistent with this Order.

9. 	That The Indian Springs Water Company shall preserve all hard copy or electronic records, files, bank statements, documents, papers, or any other materials related to its offering of utility water service, including records of all contracts, agreements, loans, payments, and other arrangements with affiliated companies or be subject to criminal and/or civil prosecution under Chapter 33 of the Public Utility Code and any other applicable state or federal law.

10.	That The Indian Springs Water Company shall, no later than August 19, 2019, turn over copies or originals of all books, records, accounts, and any other information used and useful in the provision of utility water service to customers served by The Indian Springs Water Company to the Receiver as appointed by the Commission or be subject to criminal and/or civil prosecution under Chapter 33 of the Public Utility Code and any other applicable state or federal law.

11.	That The Indian Springs Water Company shall, no later than August 19, 2019, turn over all operations and assets, including keys to locks securing facilities, buildings, and any other property, whether personal or real property, used and useful in the provision of utility water service to customers served by The Indian Springs Water Company to the Receiver as appointed by the Commission or be subject to criminal and/or civil prosecution under Chapter 33 of the Public Utility Code and any other applicable state or federal law.

12.	That The Indian Springs Water Company, including its owners and employees, are directed to provide full and unconditional cooperation with the orderly transition of operations, management, and oversight to the Receiver as appointed by the Commission or be subject to criminal and/or civil prosecution under Chapter 33 of the Public Utility Code and any other applicable state or federal law.

13.	That the Indian Springs Water Company shall cease all billing and collections activity to its former customers as of August 19, 2019.

14.	Effective immediately, The Indian Springs Water Company shall not engage in any purchase, sale, payment, lease, loan, or exchange of any service, property, money, security, right, or thing under contract, whether oral or written, or under any arrangement with an affiliated interest, the terms of which have not been approved by the Commission, subject to criminal and/or civil prosecution under Chapters 19, 21, and 33 of the Public Utility Code and any other applicable state or federal law.

15.	That a copy of this Order be served on The Indian Springs Company, Aqua Pennsylvania, Pennsylvania American Water Company, the Commission’s Bureau of Investigation and Enforcement, the Office of Consumer Advocate, the Office of Small Business Advocate, the Northeast Regional Office of the Pennsylvania Department of Environmental Protection, and all proximate municipalities and authorities providing water service in an around Fairview Township, Luzerne, County, Pennsylvania.

16.	That a copy of this Order be posted on the Commission’s website at www.puc.pa.gov.

BY THE COMMISSION

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  August 8, 2019

ORDER ENTERED:  August 8, 2019

APPENDIX A

Docket No. M-2019-3011972

- That the Receiver, in its capacity as receiver of The Indian Springs Water Company (Indian Springs), shall have the following duties and responsibilities:

  - Operate the system in compliance with all State, Federal, and local laws and regulations, including such repairs as may be necessary for safe and adequate service.

  - Maintain any existing or necessary permits, licenses, approvals, authorizations, orders, consents, registrations, or filings.

  - Provide a listing of recommended capital improvements, identifying the capital improvements necessary to improve the performance of the system, to address or anticipate the obsolescence of portions of the system, to reduce the cost of operating the system, to provide cost savings or efficiency innovations to the system, or to comply with existing or anticipated changes to applicable laws and regulations.

  - Provide all supervision and personnel necessary to operate the system in a professional, efficient and economic manner, and in accordance with sound operating practices and prudent industry and utility standards.

  - Respond to system emergencies by taking necessary action to ensure the continued provision of adequate, efficient, safe and reasonable service.

  - Notify appropriate regulatory or governmental agencies regarding any emergency which, in the reasonable judgement of the Receiver, is likely to result in material loss or damage to the system or constitute a material threat to human health or safety.

  - Provide for normal routine maintenance, repairs, and the provision of supplies for the system.

  - Keep financial and accounting records and all pertinent operating data and information relating to the system as prudent industry and utility practices would require.

  - Assume Indian Springs’ billing and collection functions.

  - Provide Indian Springs’ customer service.

  - Have the authority to borrow money in the name of Indian Springs necessary for the continued provision of adequate, efficient, safe and reasonable service to the customers of Indian Springs.

  - Have the authority to file a petition for bankruptcy and participate in such proceedings on behalf of Indian Springs.

  - Comply with Indian Springs’ effective tariff for Indian Springs customers.

  - Submit all necessary paperwork to regulatory agencies of the system on behalf of Indian Springs.

  - Submit an initial status report to the Commission within 60 days of assuming operations and then quarterly thereafter to detail any relevant updates pursuant to duties and responsibilities assigned through receivership.

  - Participate in discussions with the Commission regarding alternatives to the acquisition of Indian Springs, pursuant to 66 Pa. C.S. § 529(b).

  - Submit testimony regarding each factor delineated under 66 Pa. C.S. § 529(c) in any future proceeding pursuant to 66 Pa. C.S. § 529(a) relating to the acquisition of Indian Springs by a capable public utility.

  - Make reasonable efforts to establish the financial position of Indian Springs at the time the Receiver assumed receivership.

  - Establish deferred accounting treatment for expenses incurred by Indian Springs that are payable to the Receiver and to present those expenses for recovery as a part of a subsequent base rate proceeding if not recoverable from Indian Springs.

  - Establish deferred accounting treatment for reasonable capital costs incurred by the Receiver to restore safe, adequate, and reasonably continuous service to Indian Springs customers and to present those costs for recovery as a part of a subsequent base rate proceeding if not recoverable from Indian Springs.

  - Petition the Commission to add or remove any duties or responsibilities; however, the Receiver must continue to fulfill all duties and responsibilities until such duties or responsibilities are removed by Commission Order or by a court with competent jurisdiction.

  - Be permitted to use existing Commission-approved affiliated entities to provide services to Indian Springs, provided that the Receiver provides the Commission written notice identifying which affiliates are providing services for which approval under 66 Pa. C.S. § 2102 would typically be required.

  - Satisfy the aforementioned duties and responsibilities either directly, through Commission-approved affiliates, or through competitive operation and maintenance agreements or any combination thereof.

  - Charge Indian Springs reasonable rates for all services rendered to or for Indian Springs on behalf of the receivership and to present those charges for recovery as a part of a subsequent base rate proceeding if not recoverable from Indian Springs.

  - File a tariff incorporating the existing water rates of Indian Springs within ten (10) days of assuming operations, to become effective on one day’s notice, and notify Indian Springs customers of the filing of the tariff rates.

- That the Receiver, in its own capacity, shall have the following duties and responsibilities:

  - Should Indian Springs be unable to obtain necessary financing for ensuring the continued provision of adequate, efficient, safe and reasonable service to the customers of Indian Springs, the Receiver, at its option, may either directly provide financing for Indian Springs or file a petition for bankruptcy.

  - Establish a deferred expense account for expenses incurred by the Receiver resulting from this order, including prudent and reasonable legal expenses for presentation in a subsequent rate proceeding and to present those expenses for recovery as a part of a subsequent base rate proceeding if not recoverable from Indian Springs.

  - Provide tentative schedules, updates, and recommendations in status reports to the Commission for bringing Indian Springs into compliance with conditions of Indian Springs’ certificate of public convenience as appropriate.

- The Receiver may petition the Commission for modification or termination of this receivership, or to appoint another, or an additional, entity as a receiver of Indian Springs.

APPENDIX B

Indian Springs Water Company

PO Box 13

Mountaintop, PA  18707

By Electronic and Regular Mail

Rosemary Chiavetta, Secretary

Public Utility Commission

P.O. Box 3265

Harrisburg, PA  17105

rchiavetta@pa.gov

Dear Secretary Chiavetta:

Please find enclosed a Do Not Consume warning being distributed to the customers of the Indian Springs Water Company today,  February 8, 2019 by order of Department of Environmental Protection.  We are submitting this notice pursuant to 52 Pa. Code Chapter 67  in the event that the Pennsylvania Utility Commission considers a Do Not Consume warning a Service Interruption requiring notice to the PUC.  Indian Springs Water Company  will continue to offer water  service to all customers, giving them the option to decide on consumption.

Feel free to contact me with any questions or if you need any further information.

Ruth Hughes, President

DRINKING WATER WARNING

Customers Served by the Indian Springs Water Company

As a result of a complaint made to the Department of Environmental Protection (DEP) about the Indian Springs Water Company (ISWC),  DEP conducted a site visit of the ISWC facilities and found alleged violations as detailed below.  As a result DEP is ordering ISWC to distribute this notice. DEP did not take any samples indicating any water quality issues related to these structural violations.  All samples previously taken by ISWC did not indicate any issues due to the alleged violations.

Description of the Violation or Situation

An inspection was conducted by the Department of Environmental Protection (DEP) on February 6, 2019.  During the inspection, it was discovered what appeared to be a small rodent lying dead on the bottom of spring source, which was immediately removed.  Please note that water from the Spring is subsequently chlorinated in the pump house.  In addition, the finished water reservoir was also observed to have vegetation and some wood remnants.

Due to the levels of Lead indicated in random household samples  in the water system as well as the conditions of the source and finished water reservoir, the system is now required to be on a “Do Not Drink” drinking water warning instead of the Boil Water Advisory.  All customers should have received previous notice of the lead levels indicated.

As required by DEP, ISWC is providing bottled water for any ISWC customers needing it at the Tennis House on Lake Road.

No specific contaminants have been identified in the water at the source or at the reservoir. DEP did not test the water during their site visit other than for chlorine levels, which were normal.  ISWC is developing a corrective action plan to address all of the structural violations identified by DEP in their Summary Report.  In addition, ISWC will be taking regular water samples and posting the results at the Tennis House.

You will be notified when this drinking water warning is no longer necessary.

Contact information

For more information, please contact Ruth Hughes, President, ISWC at 570-417-1087.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by Indian Springs Water Company.

PWS ID#:             2400086		Date distributed:  February 8, 2019