| Pipeline System: |  | Operator: |  |
| --- | --- | --- | --- |
| Operator ID: |  |  | Unit Number: |  |  | Activity Number: |  |
| Location: |  | Date of Occurrence: |  |
| Material Released: |  | Quantity: |  |
| PHMSA Arrival Time & Date: |  | Total Damages $: |  |
| Investigation Responsibility: | __ State | __ PHMSA | __ NTSB | __Other |  |
| Company Reported Apparent Cause: Company Reported Sub-Cause (from PHMSA Form 7000-1/7100.2): Corrosion Natural Force Damage Excavation Damage Other Outside Force Damage Material Failure (Pipe, Joint, Weld) Equipment Failure Incorrect Operation Other Non-Reportable See Narrative Summary |
| Accident/Incident Resulted in (check all that apply): Comments: Rupture Leak Fire Explosion Evacuation Number of Persons:_________ Area: ____________ |

Narrative Summary

Short summary of the Incident/Accident scenario (Indicate why non-reportable)

| State: |  |  | Reviewed by: |  |
| --- | --- | --- | --- | --- |
| Principal Investigator: |  |  | Title: |  |
| Date: |  |  | Date: |  |

| Failure Location & Response |
| --- |
| Location (City, Township, Range, County/Parish): | (Acquire Map) |
| Address: | () | Type of Area (Rural, City): | (1) |
| Coordinates of failure location (Latitude): |  | (Longitude): |  |
| Date: |  | Time of Failure: |  |
| Time Detected: |  | Time Located: |  |
| How Located: |  |
| NRC Report #: | (Attach Report) | Time Reported to NRC: | Reported by: |
| Type of Pipeline: |
| __ | Liquid Propane |  |  |  |  |
| __ | Municipal |  |  |  |  |
| __ | Public Utility |  |  |  |  |
| __ | Master Meter |  |  |  |  |
| Pipeline Configuration (Regulator Station, Pump Station, Pipeline, etc.): |

| Operator/Owner Information |
| --- |
| Owner: | Operator: |
| Address: | Address: |
| Company Official: | Company Official: |
| Phone No.: | Fax No.: | Phone No. | Fax No. |
| Drug and Alcohol Testing Program Contacts | __ N/A |
| Drug Program Contact & Phone: |
| Alcohol Program Contact & Phone: |

| Damages |
| --- |
| Gas Loss or Spill() |  | Estimated Property Damage $ |  |
| Estimated Amount $ |  | Associated Damages() $ |  |
| Description of Property Damage: |
| Customers out of Service: | __ Yes | __ No | Number: |
| Suppliers out of Service: | __ Yes | __ No | Number: |

| Fatalities and Injuries | ___ N/A |
| --- | --- |
| Fatalities: | __ Yes | __ No | Company: | Contractor: | Public: |
| Injuries - Hospitalization: | __ Yes | __ No | Company: | Contractor: | Public: |
| Injuries - Non-Hospitalization: | __ Yes | __ No | Company: | Contractor: | Public: |
| Total Injuries (including Non-Hospitalization): | Company: | Contractor: | Public: |
|  |  | Yrs. w/ Comp. | Yrs. Exp. |  |
| Name | Job Function / Address |  |  | Type of Injury |

| Drug/Alcohol Testing ___ N/A |
| --- |
| Were all employees that could have contributed to the incident, post-accident tested within the 2 hour time frame for alcohol or the 32 hour time frame for all other drugs? |
| ___Yes | ___No |
| Job Function | Test Date & Time | Location | Results | Type of Drug |
|  |  |  | Pos | Neg |  |

System Description

Describe the Operator's System:

| Pipe Failure Description ___ N/A |
| --- |
| Length of Failure (inches, feet, miles): |  | (1) |
| Position (Top, Bottom, include position on pipe, 6 O'clock): (1) | Description of Failure (Corrosion Gouge, Seam Split): (1) |
| Laboratory Analysis: | ___ Yes | ___ No |
| Performed by: |  |
| Preservation of Failed Section or Component: | ___Yes | ___No |
| If Yes - Method: |  |  |
| In Custody of: |  |
| Develop a sketch of the area including distances from roads, houses, stress inducing factors, pipe configurations, direction of flow, etc. Bar Hole Test Survey Plot, if included, should be outlined with concentrations at test points. |

| Component Failure Description ___ N/A |
| --- |
| Component Failed: |  | (1) |
| Manufacturer: | Model: |
| Pressure Rating: | Size: |
| Other (Breakout Tank, Underground Storage): |

| Pipe Data ___ N/A |
| --- |
| Material: | Wall Thickness/SDR: |
| Diameter (O.D.): | Installation Date: |
| SMYS: | Manufacturer: |
| Longitudinal Seam: | Type of Coating: |
| Pipe Specifications (API 5L, ASTM A53, etc.): |

| Joining ___N/A |
| --- |
| Type: | Procedure: |
| NDT Method: | Inspected: ___ Yes ___No |

| Pressure @ Time of Failure ___ N/A |
| --- |
| Pressure @ Failure Site: |  |
| Location Relative to Failure Site | Pressure (psig) |

| Upstream Compressor Station Data ___ N/A |
| --- |
| Pressure @ Time of Failure (4) | Distance to Failure Site: |
| High Pressure Set Point: | Low Pressure Set Point: |

| Operating Pressure ___ N/A |
| --- |
| Max. Allowable Operating Pressure: | Determination of MAOP: |
| Actual Operating Pressure: |  |
| Method of Over Pressure Protection: |
| Relief Valve Set Point: | Capacity Adequate? ___ Yes ___ No |

Integrity Test After Failure ___ N/A

Pressure test conducted in place? (Conducted on Failed Components or Associated Piping): ___ Yes ___ No

If No, tested after removal? ___ Yes ___ No

Method:

Describe any failures during the test.

| Soil/water Conditions @ Failure Site ___ N/A |
| --- |
| Condition of and Type of Soil around Failure Site (Color, Wet, Dry, Frost Depth): |
| Type of Backfill (Size and Description): |
| Type of Water (Salt, Brackish): | Water Analysis () ___ Yes ___ No |

| External Pipe or Component Examination ___ N/A |
| --- |
| External Corrosion? ___Yes ___ No | (1) | Coating Condition (Disbonded, Non-existent): | (1) |
| Description of Corrosion: |
| Description of Failure Surface (Gouges, Arc Burns, Wrinkle Bends, Cracks, Stress Cracks, Chevrons, Fracture Mode, Point of Origin): |
| Above Ground: ___ Yes ___ No | (1) | Buried: ___ Yes ___ No | (1) |
| Stress Inducing Factors: | (1) | Depth of Cover: | (1) |

| Cathodic Protection ___ N/A |
| --- |
| P/S (Surface): | P/S (Interface): |
| Soil Resistivity: | pH: | Date of Installation: |
| Method of Protection: |
| Did the Operator have knowledge of Corrosion before the Incident? ___ Yes ___ No |
| How Discovered? (Close Interval Survey, Instrumented Pig, Annual Survey, Rectifier Readings, ECDA, etc): |

| Internal Pipe or Component Examination ___ N/A |
| --- |
| Internal Corrosion: ___ Yes ___No | (1) | Injected Inhibitors: ___ Yes ___ No |
| Type of Inhibitors: | Testing: ___ Yes ___ No |
| Results (Coupon Test, Corrosion Resistance Probe): |
| Description of Failure Surface (MIC, Pitting, Wall Thinning, Chevrons, Fracture Mode, Point of Origin): |
| Cleaning Pig Program: ___ Yes ___ No | Gas and/or Liquid Analysis: ___ Yes ___ No |
| Results of Gas and/or Liquid Analysis () |
| Internal Inspection Survey: ___ Yes ___ No | Results () |
| Did the Operator have knowledge of Corrosion before the Incident? ___ Yes ___ No |
| How Discovered? (Instrumented Pig, Coupon Testing, etc.): |

| Outside Force Damage ___ N/A |
| --- |
| Responsible Party: | Telephone No.: |
| Address: |
| Work Being Performed: |
| Equipment Involved: | (1) | Called One Call System? ___ Yes ___ No |
| One Call Name: PA One Call | One Call Report # () |
| Notice Date: | Time: |
| Response Date: | Time: |
| Details of Response: |
| Was Location Marked According to Procedures? ___ Yes ___ No |
| Pipeline Marking Type: | (1) | Location: | (1) |
| State Law Damage Prevention Program Followed? ___ Yes ___ No |
| Notice Required: ___Yes ___No | Response Required: ___ Yes ___ No |
| Was Operator Member of State One Call? ___ Yes ___ No | Was Operator on Site? ___ Yes ___ No |
| Did a deficiency in the Public Awareness Program contribute to the accident? ___Yes ___ No |

Natural Forces __ N/A

Description (Earthquake, Tornado, Flooding, Erosion):

| Failure Isolation __ N/A |
| --- |
| Squeeze Off/Stopple Location and Method: | (1) |
| Valve Closed - Upstream: | I.D .: |
| Time: | Address: |
| Valve Closed - Downstream: | I.D.: |
| Time: | Address: |
| Pipeline Shutdown Method: __ Manual __ Automatic __ SCADA __ Controller __ ESD |
| Failed Section Bypassed or Isolated: |
| Performed By: | Valve Spacing: |

| Odorization __ N/A |
| --- |
| Gas Odorized: __ Yes __ No | Concentration of Odorant (Post Incident at Failure Site): |
| Method of Determination: __ Yes __ No | % LEL: __ Yes __ No | % Gas In Air: __ Yes __ No |
|  | Time Taken: __ Yes __ No |
| Was Odorizer Working Prior to the Incident? | Type of Odorizer (Wick, By-Pass): |
| __ Yes __ No |  |
| Odorant Manufacturer: | Type of Odorant: |
| Model: |  |
| Amount Injected: | Monitoring Interval (Weekly): |
| Odorization History (Leaks Complaints, Low Odorant Levels, Monitoring Locations, Distances from Failure Site): |

| Weather Conditions __ N/A |
| --- |
| Temperature: | Wind (Direction & Speed): |
| Climate (Snow, Rain): | Humidity: |
| Was Incident preceded by a rapid weather change? __ Yes __ No |
| Weather Conditions Prior to Incident (Cloud Cover, Ceiling Heights, Snow, Rain, Fog): |

| Gas Migration Survey __ N/A |
| --- |
| Bar Hole Test of Area: __ Yes __ No | Equipment Used: |
| Method of Survey (Foundations, Curbs, Manholes, Driveways, Mains, Services) () | (1) |

| Pressure Test History __ N/A (Expand List as Necessary) |
| --- |
|  | Test Date | Test Medium | Pressure (psig) | Duration (hrs) |
| Installation |  |  |  |  |
| Next |  |  |  |  |
| Next |  |  |  |  |
| Most Recent |  |  |  |  |
| Describe any problems experienced during the pressure tests. |

| Internal Line Inspection/Other Assessment History __ N/A (Expand List as Necessary) |
| --- |
|  | Assessment Date | Type of ILI Tool () | Other Assessment Method () | Indicated Anomaly If yes, describe below |
| Initial |  |  |  | __ Yes __ No |
| Next |  |  |  | __ Yes __ No |
| Next |  |  |  | __ Yes __ No |
| Most Recent |  |  |  | __ Yes __ No |
| Describe any previously indicated anomalies at the failed pipe, and any subsequent pipe inspections (anomaly digs) and remedial actions. |

Pre-Failure Conditions and Actions __ N/A

Was there a known pre-failure condition requiring (10) the operator to schedule evaluation and remediation? __ Yes (describe below or on attachment) __ No

If there was such a known pre-failure condition, had the operator established and adhered to a required (10) evaluation and remediation schedule? Describe below or on attachment. __ Yes __ No __ N/A

Prior to the failure, had the operator performed the required (10) actions to address the threats that are now known to be related to the cause of this failure? __ Yes __ No __ N/A List below or on an attachment such operator-identified threats, and operator actions taken prior to the accident.

Describe any previously indicated anomalies at the failed pipe, and any subsequent pipe inspections (anomaly digs) and remedial actions.

Maps & Records ___ N/A

Are Maps and Records Current? () __ Yes __ No

Comments:

Leak Survey History ___ N/A

Leak Survey History (Trend Analysis, Leak Plots):

| Pipeline Operation History ___ N/A |
| --- |
| Description (Repair or Leak Reports, Exposed Pipe Reports): |
| Did a Safety Related Condition Exist Prior to Failure? ___ Yes ___ No | Reported? ___ Yes ___ No |

| Operator/Contractor Error ___ N/A |
| --- |
| Name: | Job Function: |
| Title: | Years of Experience: |
| Training (Type of Training, Background): |
| Was the person “Operator Qualified” as applicable to a precursor abnormal operating condition? ___Yes ___ No ___ N/A |
| Was qualified individual suspended from performing covered task ___ Yes ___ No ___ N/A |
| Type of Error (Inadvertent Operation of a Valve): |
| Procedures that are required: |
| Actions that were taken: |
| Pre-Job Meeting (Construction, Maintenance, Blow Down, Purging, Isolation): |
| Prevention of Accidental Ignition (Tag & Lock Out, Hot Weld Permit): |
| Procedures conducted for Accidental Ignition: |
| Was a Company Inspector on the Job? ___ Yes ___ No |
| Was an Inspection conducted on this portion of the job? ___ Yes ___ No |
| Additional Actions (Contributing factors may include number of hours at work prior to failure or time of day work being conducted): |
| Training Procedures: |
| Operation Procedures: |
| Controller Activities: |
| Name | Title | Years Experience | Hours on Duty Prior to Failure | Shift |
| Alarm Parameters: |
| High/Low Pressure Shutdown: |
| Procedures for Clearing Alarms: |
| Type of Alarm: |
| Company Response Procedures for Abnormal Operations: |
| Additional Actions: |

Additional Actions Taken by the Operator ___N/A

Make notes regarding the emergency and Failure Investigation Procedures (Pressure reduction, Reinforced Squeeze Off, Clean Up, Use of Evacuators, Line Purging, closing Additional Valves, Double Block and Bleed, Continue Operating downstream Pumps):

| Photo Documentation (1) |
| --- |
| Overall Area from best possible view. Pictures from the four points of the compass. Failed Component, Operator Action, Damages in Area, Address Markings, etc. |
| Photo No. |  | Photo No. |  |
|  | Description |  | Description |
| 1 |  | 16 |  |
| 2 |  | 17 |  |
| 3 |  | 18 |  |
| 4 |  | 19 |  |
| 5 |  | 20 |  |
| 6 |  | 21 |  |
| 7 |  | 22 |  |
| 8 |  | 23 |  |
| 9 |  | 24 |  |
| 10 |  | 25 |  |
| 11 |  | 26 |  |
| 12 |  | 27 |  |
| 13 |  | 28 |  |
| 14 |  | 29 |  |
| 15 |  | 30 |  |
| Camera Type: |  |

| Additional Information Sources |
| --- |
| Agency | Name | Title | Phone Number |
| Police: |  |  |  |
| Fire Dept.: |  |  |  |
| State Fire Marshall: |  |  |  |
| State Agency: |  |  |  |
| NTSB: |  |  |  |
| FBI: |  |  |  |
| ATF: |  |  |  |
| OSHA: |  |  |  |
| Insurance Co.: |  |  |  |
| Television: |  |  |  |
| Newspaper: |  |  |  |
| Other: |  |  |  |
| Persons Interviewed |
| Name | Title | Phone Number |

| Event Log |
| --- |
| Sequence of events prior, during, and after the incident by time. (Consider the events of all parties involved in the incident, Fire Department and Police reports, Operator Logs and other government agencies.) |
| Time / Date | Event |

| Investigation Contact Log |
| --- |
| Time | Date | Name | Description |

| Failure Investigation Documentation Log |
| --- |
| Operator: | Unit #: | CPF #: | Date: |
| Appendix | Documentation Description | Date | FOIA |
| Number |  | Received | Yes | No |

# Footnotes

Photo documentation

Initial volume lost or spilled

Including cleanup cost

Attach copy of water analysis report

Attach copy of gas and/or liquid analysis report

Attach copy of internal inspection survey report

Attach copy of one-call report

Plot on site description page

MFL, TFI, UT, Combination, Geometry,  etc.

ECDA, ICDA, SCCDA, “other technology,” etc.

Obtain copies of maps and records