Distribution Integrity Management Program (DIMP)

Inspection Form

For Operators of Gas Distribution Systems

For Requirements of 192.1005 – 192.1011

Version 9/23/2011

This inspection form is for the evaluation of a gas distribution integrity management program for all operators of gas distribution except operators of master meter or small liquefied petroleum gas (LPG) systems.  The form contains questions related to specific regulatory requirements and questions which are strictly for informational purposes. The questions which are related to specific regulatory requirements are preceded by the rule section number which prescribes the applicable code citation for the question. The cell preceding informational questions states “information only”.

S/Y stands for “Satisfactory” or “Yes”, U/N stands for “Unsatisfactory” or “No”, N/A stands for “Not Applicable”, and N/C stands for “Not Checked”.  If an item is marked U/N, N/A, or N/C, an explanation must be included in the comments section.

Some inspection questions contain examples to further clarify the intent of the question. For example, question 5 asks, “Do the written procedures require the consideration of information gained from past design, operations, and maintenance (e.g. O&M activities, field surveys, One-Call system information, excavation damage, etc.)?” The list following “e.g.” is not meant to be all inclusive or that all the items are required. Some of the items may not be applicable to an individual operator’s system.

Some States require the operator to notify and send the State regulatory authority any changes to operator’s plans and procedures.  Operators in these states should also notify and send revisions of the DIMP plan to the State regulatory authority.

## Operator Contact and System Information — Operator Information:

| Name of Operator (legal entity): |  |
| --- | --- |
| PHMSA Operator ID(s) Included in this Inspection: |  |
| Type of Operator: | Investor Owned Municipal Private LPG Other (e.g. cooperative) |
| States(s) included in this inspection: |  |
| Headquarters Address: |  |
| Company Contact: |  |
| Phone Number: |  |
| Email: |  |
| Date(s) of Inspection: | Click here to enter a date. TO Click here to enter a date. |
| Date of Report: | Click here to enter a date. |

### Persons Interviewed:

| Persons Interviewed (List the DIMP Administrator as the first contact) | Title | Phone Number | Email |
| --- | --- | --- | --- |

### State or Federal Representatives:

| Inspector Name & Agency | Phone Number | Email |
| --- | --- | --- |
| Inspector Comments (optional): |

| 192.1005 What must a gas distribution operator do to implement this subpart? |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 1 | .1005 | Was the plan written and implemented per the requirement of 192.1005 by 08/02/2011? OR For a gas system put into service or acquired after 08/02/2011, was a plan written and implemented prior to beginning of operation? |  |  |  |  |
| Inspector’s Comments |  |
| 2 | Information Only | Were commercially available product(s)/templates used in the development of the operator’s written integrity management plan? |  |  |  |  |
|  |  | Fully | Partially | Not at all |
|  |  | Commercial product(s)/templates name if used: |
| Inspector’s Comments |  |
| 3 | Information Only | Does the operator’s plan assign responsibility, including titles and positions, of those accountable for developing and implementing required actions? |  |  |  |  |
| Inspector’s Comments |  |
| 4 | .1007(a)(1) | Do the written procedures identify or reference the appropriate sources used to determine the following characteristics necessary to assess the threats and risks to the integrity of the pipeline: Design (e.g. type of construction, inserted pipe, rehabilitated pipe method, materials, sizes, dates of installation, mains and services, etc.)? Operating Conditions (e.g. pressure, gas quality, etc.)? Operating Environmental Factors (e.g. corrosive soil conditions, frost heave, land subsidence, landslides, washouts, snow damage, external heat sources, business districts, wall-to-wall paving, population density, difficult to evacuate facilities, valve placement, etc.)? |  |  |  |  |
| Inspector’s Comments |  |

| 192.1007(a) Knowledge of the System |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 5 | .1007(a)(2) | Do the written procedures require the consideration of information gained from past design, operations, and maintenance (e.g. O&M activities, field surveys, One-Call system information, excavation damage, etc.)? |  |  |  |  |
| Inspector’s Comments |  |
| 6 | Information Only | Do the written procedures indicate if the information was obtained from electronic records, paper records, or subject matter expert knowledge (select all which apply)? |
|  |  | Electronic | Paper | SME |
| Inspector’s Comments |  |
| 7 | .1007(a)(3) | Does the plan contain written procedures to identify additional information that is needed to fill gaps due to missing, inaccurate, or incomplete records? |  |  |  |  |
| Inspector’s Comments |  |
| 8 | .1007(a)(3) | Does the plan list the additional information needed to fill gaps due to missing, inaccurate, or incomplete records? |  |  |  |  |
| Inspector’s Comments |  |
| 9 | .1007(a)(3) | Do the written procedures specify the means to collect the additional information needed to fill gaps due to missing, inaccurate, or incomplete records (e.g., O&M activities, field surveys, One-Call System, etc.)? |  |  |  |  |
| Inspector’s Comments |  |
| 10 | .1007(a)(5) | Do the written procedures require the capture and retention of data on any new pipeline installed? |  |  |  |  |
| Inspector’s Comments |  |
| 11 | .1007(a)(5) | Does the data required for capture and retention include, at a minimum, the location where the new pipeline is installed and the material from which it is constructed? |  |  |  |  |
| Inspector’s Comments |  |
| 12 | .1007(a) | Does the documentation provided by the operator demonstrate implementation of the element “Knowledge of the System”? |  |  |  |  |
| Inspector’s Comments |  |
| 13 | .1007(a) | Has the operator demonstrated an understanding of its system? |  |  |  |  |
| Inspector’s Comments |  |

| 192.1007(b) Identify Threats |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 14 | .1007(b) | In identifying threats, do the written procedures include consideration of the following categories of threats to each gas distribution pipeline? Corrosion Natural Forces Excavation Damage Other Outside Force Damage Material or Welds Equipment Failure Incorrect Operation Other Concerns |  |  |  |  |
| Inspector’s Comments |  |
| 15 | .1007(b) | Did the operator consider the information that was reasonably available to identify existing and potential threats? |  |  |  |  |
| Inspector’s Comments |  |
| 16 | Information Only | Does the plan subdivide the primary threats into subcategories to identify existing and potential threats? |  |  |  |  |
| Inspector’s Comments |  |
| 17 | .1007(b) | In identifying threats did the information considered include any of the following? Incident and leak history yes no Corrosion control records yes no Continuing surveillance records yes no Patrolling records yes no Maintenance history yes no Excavation damage experience yes no Other – Describe ______________ yes no |  |  |  |  |
| Inspector’s Comments |  |
| 18 | Information Only | Does the plan categorize primary threats as either “system-wide” or “localized”? |
|  | All System-wide | All Localized | Some of Both | Not Identified |
| Inspector’s Comments |  |
| 19 | Information Only | Do the written procedures consider, in addition to the operator’s own information, data from external sources (e.g. trade associations, government agencies, or other system operators, etc.) to assist in identifying potential threats? |  |  |  |  |
| Inspector’s Comments |  |
| 20 | .1007(b) | Does the documentation provided by the operator demonstrate implementation of the element “Identify Threats”? |  |  |  |  |
| Inspector’s Comments |  |
| 192.1007(c) Evaluate and Rank Risk |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 21 | Information Only | Was the risk evaluation developed fully or in part using a commercially available tool? |
|  |  | Fully | Partially | Not at all |
|  |  | Commercial tool name if used: |
| Inspector’s Comments |  |
| 22 | .1007 (c) | Do the written procedures contain the method used to determine the relative importance of each threat and estimate and rank the risks posed? Briefly describe the method. |  |  |  |  |
| Inspector’s Comments |  |
|  |  | For questions 23 – 25, do the written procedures to evaluate and rank risk consider: | Corrosion | Natural Forces | Excavation Damage | Other outside Force Damage | Material or Welds | Equipment Failure | Incorrect Operation | Other Concerns |
| 23 | .1007 (c) | Each applicable current and potential threat? |  |  |  |  |  |  |  |  |
| 24 |  | The likelihood of failure associated with each threat? |  |  |  |  |  |  |  |  |
| 25 |  | The potential consequence of such a failure? |  |  |  |  |  |  |  |  |
|  | Mark each box above with one of the following: S for “Satisfactory”, U for “Unsatisfactory”, N/A for “Not Applicable” and N/C for “Not Checked”. |
| Inspector’s Comments |  |
| 26 | .1007 (c) | If subdivision of system occurs, does the plan subdivide the system into regions with similar characteristics and for which similar actions are likely to be effective in reducing risk? Briefly describe the approach. |  |  |  |  |
| Inspector’s Comments |  |
| 27 | Information Only | Is the method used to evaluate and rank risks reasonable? |  |  |  |  |
| Inspector’s Comments |  |
| 28 | .1007(c) | Are the results of the risk ranking supported by the risk evaluation model/method? |  |  |  |  |
| Inspector’s Comments |  |
| 29 | .1007(c) | Did the operator validate the results generated by the risk evaluation model/method? Briefly describe. |  |  |  |  |
| Inspector’s Comments |  |
| 30 | .1007(c) | Does the documentation provided by the operator demonstrate implementation of the element “Evaluate and Rank Risk”? |  |  |  |  |
| Inspector’s Comments |  |

| 192.1007 (d) Identify and implement measures to address risks |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 31 | .1007 (d) | Does the plan include procedures to identify when measures, beyond minimum code requirements specified outside of Part 192 Subpart P, are required to reduce risk? |  |  |  |  |
| Inspector’s Comments |  |
| 32 | .1007 (d) | When measures, beyond minimum code requirements specified outside of Part 192 Subpart P, are required to reduce risk, does the plan identify the measures selected, how they will be implemented, and the risks they are addressing? |  |  |  |  |
| Inspector’s Comments |  |
| 33 | .1007 (d) | Complete the table at the end of this form: Threat Addressed, Measure to Reduce Risk, and Performance Measure |
| Inspector’s Comments |  |
| 34 | .1007 (d) | Does the plan include an effective leak management program (unless all leaks are repaired when found) Locate the leaks in the distribution system; Evaluate the actual or potential hazards associated with these leaks; Act appropriately to mitigate these hazards; Keep records; and Self-assess to determine if additional actions are necessary to keep people and property safe. |  |  |  |  |
| Inspector’s Comments |  |
| 35 | .1007(d) | Does the documentation provided by the operator demonstrate implementation of the measures, required by Part 192 Subpart P, to reduce risk? |  |  |  |  |
| Inspector’s Comments |  |

| 192.1007(e) Measure performance, monitor results, and evaluate effectiveness |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
|  | .1007(e) | i) Number of hazardous leaks either eliminated or repaired, categorized by cause? | ii) Number of excavation damages? | iii) Number of excavation tickets received by gas department? | iv) Total number of leaks either eliminated or repaired categorized by cause? | v) Number of hazardous leaks either eliminated or repaired, categorized by material? | vi) Any additional measures the operator determines are needed to evaluate the effectiveness of the IM program in controlling each identified threat? |
| 36 | Does the plan contain written procedures for how the operator established a baseline for each performance measure? | Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| 37 | Does the plan establish a baseline for each performance measure? | Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| 38 | Does the operator have written procedures to collect the data for each performance measure? | Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| 39 | Do the written procedures require the operator to monitor each performance measure? | Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Mark each box above with one of the following: S for “Satisfactory”, U for “Unsatisfactory”, N/A for “Not Applicable” and N/C for “Not Checked”. |
| Inspector’s Comments |  |
| 40 | .1007 (e) | When measures are required to reduce risk, do the written procedures provide how their effectiveness will be measured? |  |  |  |  |
| Inspector’s Comments |  |
| 41 | Information Only | Can the performance measures identified by the operator in the plan be counted, monitored, and supported? |  |  |  |  |
| Inspector’s Comments |  |
| 42 | .1007(e) | Does the documentation provided by the operator demonstrate implementation of the element “Measure Performance, Monitor Results, and Evaluate Effectiveness”? |  |  |  |  |
| Inspector’s Comments |  |

| 192.1007(f)Periodic Evaluation and Improvement |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 43 | .1007 (f) | Do the written procedures for periodic review include: Frequency of review based on the complexity of the system and changes in factors affecting the risk of failure, not to exceed 5 years? Verification of general information (e.g. contact information, form names, action schedules, etc.)? Incorporate new system information? Re-evaluation of threats and risk? Review the frequency of the measures to reduce risk? Review the effectiveness of the measures to reduce risk? Modify the measures to reduce risk and refine/improve as needed (i.e. add new, modify existing, or eliminate if no longer needed)? Review performance measures, their effectiveness, and if they are not appropriate, refine/improve them? |  |  |  |  |
| Inspector’s Comments |  |
| 44 | Information Only | Does the plan contain a process for informing the appropriate operating personnel of an update to the plan? |  |  |  |  |
| Inspector’s Comments |  |
| 45 | Information Only | Does the plan contain a process for informing the appropriate regulatory agency of a significant update to the plan? |  |  |  |  |
| Inspector’s Comments |  |
| 46 | .1007(f) | Does the documentation provided by the operator demonstrate implementation of the element “Periodic Evaluation and Improvement”? |  |  |  |  |
| Inspector Comments |  |

| 192.1007(g) Report results |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 47 | .1007(g) | Does the plan contain or reference procedures for reporting, on an annual basis, the four measures listed in 192.1007(e)(1)(i) through (e)(1)(iv) to PHMSA as part of the annual report required by § 191.11 and the State regulatory authority? |  |  |  |  |
| Inspector’s Comments |  |
| 48 | Information Only | When required by the State, does the plan identify the specific report form, date, and location where it is to be submitted? |  |  |  |  |
| Inspector’s Comments |  |
| 49 | .1007(g) | Has the operator submitted the required reports? |  |  |  |  |
| Inspector’s Comments |  |

| 192.1009 What must an operator report when mechanical fittings fail? |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 50 | .1009 | Does the operator have written procedures to collect the information necessary to comply with the reporting requirements of 192.1009? |  |  |  |  |
| Inspector’s Comments |  |

| 192.1011 What records must an operator keep? |
| --- |
| Question No. | Rule §192 | Description | S/Y | U/N | N/A | N/C |
| 51 | .1011 | Does the operator have written procedures specifying which records demonstrating compliance with Subpart P will be maintained for at least 10 years? |  |  |  |  |
| Inspector’s Comments |  |
| 52 | .1011 | Does the operator have written procedures specifying that copies of superseded integrity management plans will be maintained for at least 10 years? |  |  |  |  |
| Inspector’s Comments |  |
| 53 | .1011 | Has the operator maintained the required records? |  |  |  |  |
| Inspector’s Comments |  |

Table 1: Threat Addressed, Measure to Reduce Risk, and Performance Measure

For the top five highest ranked risks from the operator’s risk ranking list the following:

- Primary threat category (corrosion, natural forces, excavation damage, other outside force damage, material or weld, equipment failure, incorrect operation, and other concerns);

- Threat subcategory (GPTC threat subcategories are acceptable. Try to be specific. Example, failing bonnet bolts of gate valve, manufacturer name, model #);

- Measure to reduce the risk (list the one measure the operator feels is most important to reducing the risk);

- Associated performance measure.

|  | Primary Threat Category | Threat Subcategory, as appropriate | Measure to Reduce Risk | Performance Measure |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

| Other Inspector Comments |  |
| --- | --- |